## Sheet1
Code |  | Instrument Type | Manufacturer | Model | Supervisor | Risk | CheckList | Manual | Equipment/ Facilities | Brief description | Location | Staff responsible | Contact details for booking | Equipment/ Facilities | Brief description | Location | Staff responsible | Contact details for booking
3.3.03 | DMA7 | DMA7 - Diff Mechanical Analyser | Perkin-Elmer | DMA7 | RAS / PL |  |  |  | DMA7 | DMA7 - Diff Mechanical Analyser | 3.3.03 | RAS / PL | 52122 or 0403-587-979 | Polymer Group | DMA7 - Diff Mechanical Analyser | 3.3.03 | RAS / PL | 52122 or 0403-587-979
|  | TAC7 - Thermal Analyser Controller | Perkin-Elmer | TAC7/DX | RAS / PL | [8 empty] | Polymer Group | DMTA - Diff Mech/Thermal Analyser | 3.3.03 | RAS / PL | 52122 or 0403-587-979
|  | Microdielectrometer | Micromel Inst | Eumetric System III | RAS / PL | [8 empty] | Polymer Group | DMA - Diff Mechanical Analyser | 3.3.03 | RAS / PL | 52122 or 0403-587-979
|  | Intracooler | Perkin-Elmer | 2 -70°C | RAS / PL | [8 empty] | Polymer Group | OCA Microscope - Contact Angle | 3.3.03 | RAS / PL | 52122 or 0403-587-979
|  | + Computer |  |  | RAS / PL | [8 empty] | Polymer Group | DSC7 - Diff Scanning Coulimetry | 3.3.03 | RAS / PL | 52122 or 0403-587-979
[14 empty] | Polymer Group | DTA7 - Diff Thermal Analyser | 3.3.03 | RAS / PL | 52122 or 0403-587-979
| DMTA4 | DMTA - Diff Mech/Thermal Analyser | Perkin-Elmer | DMTA IV | RAS / PL |  |  |  | DMTA4 | DMTA - Diff Mech/Thermal Analyser | 3.3.03 | RAS / PL | 52122 or 0403-587-979 | Polymer Group | Pyris 1 DSC - Diff Scanning Coulimetry | 3.3.03 | RAS / PL | 52122 or 0403-587-979
|  | Cooling Controller | CE | K-A101000780 | RAS / PL | [8 empty] | Polymer Group | Pyris 1 DSC - Diff Scanning Coulimetry | 3.3.03 | RAS / PL | 52122 or 0403-587-979
|  | + Computer |  |  | RAS / PL | [8 empty] | Polymer Group | Similtaneous Thermal Analyser | 3.3.03 | PL | 52122 or 0403-587-979
| DMA | DMA - Diff Mechanical Analyser | Perkin-Elmer | Pyris Diamond | RAS / PL |  |  |  | DMA | DMA - Diff Mechanical Analyser | 3.3.03 | RAS / PL | 52122 or 0403-587-979 | Polymer Group | UTP Module | 3.3.03 | PL | 52122 or 0403-587-979
|  | Liq Nitrogen Dewar |  |  | RAS / PL | [8 empty] | Polymer Group | Microscope - Video | 3.3.03 | RAS / PL | 52122 or 0403-587-979
[14 empty] | Polymer Group | CCD Camera | 3.3.03 | RAS / PL | 52122 or 0403-587-979
| OCA | OCA Microscope - Contact Angle | DataPhysics | System OCA | RAS / PL |  |  |  | OCA | OCA Microscope - Contact Angle | 3.3.03 | RAS / PL | 52122 or 0403-587-979 | Polymer Group | Video VCR | 3.3.03 | RAS / PL | 52122 or 0403-587-979
|  | OCA Heater | DataPhysics | TC/TEC350 | RAS / PL
|  | + Computer |  |  | RAS / PL
|  | Instron | Instron | 4464 | RAS / PL
|  | + Computer |  |  | RAS / PL
| DSC7 | DSC7 - Diff Scanning Coulimetry | Perkin-Elmer | DSC7 | RAS / PL |  |  |  | DSC7 | DSC7 - Diff Scanning Coulimetry | 3.3.03 | RAS / PL | 52122 or 0403-587-979
|  | TAC7 - Thermal Analyser Controller | Perkin-Elmer | TAC7/DX | RAS / PL
|  | + Computer |  |  | RAS / PL
| DTA7 | DTA7 - Diff Thermal Analyser | Perkin-Elmer | DTA7 | RAS / PL |  |  |  | DTA7 | DTA7 - Diff Thermal Analyser | 3.3.03 | RAS / PL | 52122 or 0403-587-979
|  | TAC7 - Thermal Analyser Controller | Perkin-Elmer | TAC7/DX | RAS / PL
|  | Gas Selector | Perkin-Elmer | Gas Selector | RAS / PL
| DSC-P1a | DSC - Diff Scanning Coulimetry | Perkin-Elmer | Pyris1 | RAS / PL |  |  |  | DSC-P1a | DSC - Diff Scanning Coulimetry | 3.3.03 | RAS / PL | 52122 or 0403-587-979
|  | + Computer |  |  | RAS / PL
| DSC-P1b | DSC - Diff Scanning Coulimetry | Perkin-Elmer | Pyris1 | RAS / PL |  |  |  | DSC-P1b | DSC - Diff Scanning Coulimetry | 3.3.03 | RAS / PL | 52122 or 0403-587-979
|  | Intracooler | Perkin-Elmer | 2P -70°C | RAS / PL
OOS | DTA/DTG | Similtaneous Thermal Analyser | Stanton | STA-780 | PL |  |  |  | DTA/DTG | Similtaneous Thermal Analyser | 3.3.03 | PL | 52122 or 0403-587-979
| DTA | UTP Module |  |  | PL |  |  |  | DTA | UTP Module | 3.3.03 | PL | 52122 or 0403-587-979
|  | Controller/Amp/Balance |  |  | PL
|  | Mill | IKA LabTechnik | MF10 | RAS / PL
|  | Blender | IKA LabTechnik | MF20 | RAS / PL
|  | Microtome | Industrial & Scientific |  | RAS / PL
|  | + Computer |  |  | RAS / PL
| HSM | Microscope - Video | Nikon / P-E | Labphot2 | RAS / PL |  |  |  | HSM | Microscope - Video | 3.3.03 | RAS / PL | 52122 or 0403-587-979
|  | Transformer - Lamp | Nikon | UN | RAS / PL
|  | Hot Stage | Mettler | FP82HY | RAS / PL
|  | Processor - Hot Stage | Mettler | FP90 | RAS / PL
|  | + Computer |  |  | RAS / PL
| CCD | CCD Camera | Sony | CCD IRIS | RAS / PL |  |  |  | CCD | CCD Camera | 3.3.03 | RAS / PL | 52122 or 0403-587-979
|  | Camera Adaptor | Sony | CMA-D2 | RAS / PL
| VCR | Video VCR | Panasonic | NV-SD400 | RAS / PL |  |  |  | VCR | Video VCR | 3.3.03 | RAS / PL | 52122 or 0403-587-979
|  | Video Printer | Sony |  | RAS / PL
|  | + Computer |  |  | RAS / PL
|  | Ultrasonic Processor | Ultrasonic Processor | GEX500 | RAS / PL
|  | Ultrasonic Probe | Ultrasonic Processor | CV33 | RAS / PL
|  | Surface Area Analyser | Micrometics | ASAP2000 | FA
|  | + Computer |  |  | FA
OOS |  | Liq N2 Controller | Planer Products | LNP4-D | RAS / PL
|  | Balance | Ohaus | Adventurer | RAS / PL
|  | Balance - Micro | PE | AD-2Z Autobalance | RAS / PL
OOS | OBS | Balance, 5 figure | Mettler | [5 empty] | OBS | Balance, 5 figure | 3.3.03 | 0 | 52122 or 0403-587-979
|  | Balance, Top Pan | Mettler | P3N
|  | Balance Top pan | Mettler Toledo | PB 3001 | ??
|  | Blender | Ultra Turrax | T45 | ??
|  | Stirrer | Eurostra | VISC P4 | ??
|  | Water Bath, circulating | Heto | 21 DT1 | ??
|  | Water Bath, circulating | Schott | CK300 | RAS / PL
|  | Water Bath, circulating | Polystat | 12105-15 | RAS / PL
|  | Water Bath, circulating | Haake | FS | RAS / PL
|  | Oven | Heraeus |  | ??
|  | Oven | Heraeus |  | ??
|  | Oven, vacuum | National Appliance Co |  | PM
|  | Vacuum Pump | Edwards | SpeediVac 2 | PM
|  | Oven, vacuum | Labline |  | PM
|  | Vacuum Pump | Edwards | SpeediVac 2 | PM
|  | Oven | Contherm | Digital Series | RAS / PL
|  | Oven | Contherm | Series 5 | RAS / PL
|  | Hot Plate Stirrer | IEC
|  | Hot Plate Stirrer | Corning | PC 351
|  | Hot Plate Stirrer | IEC | CS 76083V
|  | Hot Plate Stirrer | IEC | CS 76083V
|  | Heating Module | Reactitherm | No18750
|  | UV Light Box, 12" UV Lamp | Hannimex |  | ??
|  | Solar Lamp | EYE | AHMN 400 | ??
OOS |  | 110V Transformer | Dohrmann | HG2201 | PL
|  | Ultrasonic Cleaner Bath | Unisonics | CT10 | ??
|  | Ultrasonic Cleaner Controller | Unisonics | CT20 | ??
| OBS | Dosimat | [6 empty] | OBS | Dosimat | 3.3.03 | 0 | 52122 or 0403-587-979
OOS |  | Detector, UV-Vis | Shimadzu | SPD-6AV
OOS |  | Detector, ECD | Shimadzu | L-ECD-6A
OOS |  | Detector, VA | Metrohm | 641
OOS |  | Detector, Chemiluminescence | Monitor Labs | ML9841A
OOS |  | Detector, EC Monitor | Milton Roy | LCD
OOS |  | Detector, BAS 400 Analyser | BAS | LC17A
OOS |  | Peristatic Pump | Watson Marlow | 501V
OOS |  | Vacuum Pump | KNF | VP2 N86KN18
OOS |  | Printer | HP | DJ 850C | RAS
OOS |  | Printer | HP | DJ 670C | RAS
OOS | OBS | Printer | HP | DW 600 | RAS |  |  |  | OBS | Printer | 3.3.03 | RAS | 52122 or 0403-587-979
OOS |  | Printer | HP | DJ 695C | RAS

## Sheet2
RMIT Scool of Applied Sciences
| HAZARD IDENTIFICATION |  |  |  |  | HEALTH RISK
Process Steps | Chemical Name | Class | Concn | Amount | MSDS
Sample Collection/Storage
Sample Handling/Preparation
Analysis |  |  |  | 15mg
Waste Products/Disposal
| Polymers | 0 |  | <10mg | as req
| Solvents | 3,6,8 | minute | <1mg | as req
| Novel Compounds | 3,4,5,6,8, |  | <10mg | as req
Waste Products
| HCl | 6,8 |  | <1mg
| NO2 | 6,8 |  | <1mg
| SO3 | 6,8 |  | <1mg
| HF | 6,8 |  | <1mg
| CO | 6 |  | <10mg
| CO2 | 0 |  | <20mg | na
| CH2 | 3 |  | <10mg
| C |  |  | <10mg
| ZnS |  |  | <1mg