## Sheet1
Code |  | Instrument Type | Manufacturer | Model | Supervisor | Risk | CheckList | Manual | Equipment/ Facilities | Brief description | Location | Staff responsible | Contact details for booking | Equipment/ Facilities | Brief description | Location | Staff responsible | Contact details for booking
3.3.07
3.3.07 | Tube Furnace | Tube Furnace | Linderberg/BlueM | TF55035C-1 | DM / PL |  |  |  | Tube Furnace | Tube Furnace | 3.3.07 | DM / PL | 52122 or 0403-587-979 | UV Cupboard | UV Cupboard | 3.3.07 | DM / PL | 52122 or 0403-587-979
|  | Vacuum Pump, Diaphram | Gast | DOA-P126-BG | [9 empty] | Tube Furnace | Tube Furnace | 3.3.07 | DM / PL | 52122 or 0403-587-979
|  | Pressure Transducer & Controller | MKS | PDR-C-2 | [9 empty] | Tube Furnace | Tube Furnace | 3.3.07 | DM / PL | 52122 or 0403-587-979
|  | Glove Box | [11 empty] | RFSII | Fluids Spectrometer | 3.3.07 | DM / PL | 52122 or 0403-587-979
|  | Balance | Mettler/Toledo | AG204 | [9 empty] | Micromill | Mill, High Speed Micro- | 3.3.07 | DM / PL | 52122 or 0403-587-979
|  | Hot Plate Stirrer | IEC | [10 empty] | LFIA | LF Impedence Analyaser | 3.3.07 | DM / PL | 52122 or 0403-587-979
|  | Oven, Drying | [11 empty] | Laser | Laser, UV | 3.3.07 | DM / PL | 52122 or 0403-587-979
| Micromill | Mill, High Speed Micro- | Rete… | MS100 | DM / PL |  |  |  | Micromill | Mill, High Speed Micro- | 3.3.07 | DM / PL | 52122 or 0403-587-979 | EST | Power Generator EST | 3.3.07 | DM / PL | 52122 or 0403-587-979
|  | Balance | Mettler/Toledo | AE200 | [9 empty] | DSR | Rheometer, Dynamic Stress | 3.3.07 | DM / PL | 52122 or 0403-587-979
|  | Balance | Phoenix | AA200 | [9 empty] | Cary 500 | Detector, UV-Vis NIR | 3.3.07 | DM / PL | 52122 or 0403-587-979
OOO |  | HetoFridge | Heto
|  | Vacuum Oven, 300deg |  | 300
| Tube Furnace | Tube Furnace | Laboratory Equipment Co | HTF40 | DM / PL |  |  |  | Tube Furnace | Tube Furnace | 3.3.07 | DM / PL | 52122 or 0403-587-979
|  | Network Analyser | Agilent | E5100A
| UV Cupboard | UV Cupboard | Clyde APAC | HWS120 | DM / PL |  |  |  | UV Cupboard | UV Cupboard | 3.3.07 | DM / PL | 52122 or 0403-587-979
|  | Syringe Pump | Razel | A99
|  | Syringe Pump | Razel | A99
|  | MicroBalance, Quartz Crystal | MAXTEK | RCCK
|  | Plating & Etching Monitor | MAXTEK | PM700
| Cary 500 | Detector, UV-Vis NIR | Cary Varian | Cary 500 Scan | DM / PL |  |  |  | Cary 500 | Detector, UV-Vis NIR | 3.3.07 | DM / PL | 52122 or 0403-587-979
+ Computer
|  | Peristaltic Pump | Gilson | Minipuls2
Heater/Shaker
|  | pH/mV Meter | Activon | Mod209
|  | Centrifuge | MSE | Mistral 1000
|  | Radio | Panasonic | Digital
Lamp Dimmer
OOS |  | Spin Coater | kit | kit
|  | Water Bath/circulator | PolyScience | Dig Temp Control
+ Computer
|  | Oscillocsope | Telequipment | D61
| EST | Power Generator EST | Tantec | HV202 | DM / PL |  |  |  | EST | Power Generator EST | 3.3.07 | DM / PL | 52122 or 0403-587-979
|  | Function Generator | Wavetek | 126
|  | Controller Driver, Universal Motion | newport | ESP 300
|  | Syringe Pump | Harvard Aparatus | 55-2222
| Laser | Laser, UV | SpectraPhysics | 337999-04 | DM / PL |  |  |  | Laser | Laser, UV | 3.3.07 | DM / PL | 52122 or 0403-587-979
+ Computer
|  | Printer | Epson | C41UX
| DSR | Rheometer, Dynamic Stress | Rheometrics | DSR | DM / PL |  |  |  | DSR | Rheometer, Dynamic Stress | 3.3.07 | DM / PL | 52122 or 0403-587-979
| RFSII | Fluids Spectrometer | Rheometrics | RFSII | DM / PL |  |  |  | RFSII | Fluids Spectrometer | 3.3.07 | DM / PL | 52122 or 0403-587-979
|  | Water Bath/Circulator | Rheometrics | Envir Control Calculator
|  | System Controller | Rheometrics
|  | Air Compressor | Nordgren
|  | Printer | HP | LJ 5L
+ Computer
|  | DC Power Supply | GW | GPD3020
DC Power Supply
|  | Multimeter/ Data Acquisition | Keithley | 2700
| LFIA | LF Impedence Analyaser | HP | 4192A | DM / PL |  |  |  | LFIA | LF Impedence Analyaser | 3.3.07 | DM / PL | 52122 or 0403-587-979
|  | HV AC/DC Power Supply | RMIT AC CRC | kit
+ Computer
OBS = Obsolete
OOO = Out Of Order
OOS = Not In Service
TBR = To Be Repaired